## Main Sheet
Scenario - Site Price and Cost Report
Tender Project: ENO SingTel Mobile Singapore LTE Final
Scenario: 00 Non-522 Additional 3cc FY12/13 Radio
Currency: SGD
Phase: All Phases
Area: All Areas
Category: All Categories
Item No | Name |  | Ericsson Name | Quantity | Unit Gross Price | Total Gross | Discount(%) | Unit Net Price (Before Incentives) | Total Net Price (Before Incentives) |  |  | Start Month | Start Year | Total Software Maintenance Net Price
1 | Mar 2013, Year 2 |  |  |  |  | 7921733.1435 |  |  | 4070017.047
1.1 | 11 RAN-(2G3G Mod) Details Pricing |  |  |  |  | 7921733.1435 |  |  | 4070017.047
1.1.1 | 01 Hardware 2G |  |  |  |  | 41876.0489 |  |  | 25125.6293
1.1.1.1 | 2G 2G Batteries for Co-site 3G |  |  |  |  | 5209 | 40 |  | 3125.4
1.1.1.1.1 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 (1 piece) |  |  | 1 | 5209 | 5209 | 40 | 3125.4 | 3125.4
1.1.1.1.1.1 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 1 | 5209 | 5209 | 40 | 3125.4 | 3125.4 | Yes | PRA
1.1.1.2 | 2G TRX & Power HWAC for Co-site 3G |  |  |  |  | 14808.4554 | 40 |  | 8885.0732
1.1.1.2.1 | Additional Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845
1.1.1.2.1.1 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.1.2.2 | Additional Output Power HWAC 40W->60W (per RU) |  |  | 3 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845
1.1.1.2.2.1 | Output Power HWAC 40W->60W (per RU) |  |  | 1 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.1.2.3 | Additional Output Power HWAC 60W->80W (per RU) |  |  | 3 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845
1.1.1.2.3.1 | Output Power HWAC 60W->80W (per RU) |  |  | 1 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.1.2.4 | GSM TRX HWAC |  |  | 12 | 508.0861 | 6097.033 | 40 | 304.8516 | 3658.2198
1.1.1.2.4.1 | GSM Cell Carrier (TRX equiv.) HWAC |  |  | 1 | 508.0861 | 6097.033 | 40 | 304.8516 | 3658.2198 | Yes | PRA
1.1.1.3 | 2G RBS6102 3xRUS 1xDUG20 Co-site 3G |  |  |  |  | 21858.5935 | 40 |  | 13115.1561
1.1.1.3.1 | RBS6102 3xRUS_1xDUG20_Stand-Alone (No TRX_No Power HWAC) |  |  | 1 | 21858.5935 | 21858.5935 | 40 | 13115.1561 | 13115.1561
1.1.1.3.1.1 | Single Radio Unit RUS 01B0 (900P MHz) 20W HW Activation incl. |  |  | 0 | 3158 | 0 | 40 | 1894.8 | 0 | Yes | PRA
1.1.1.3.1.2 | GSM Cell Carrier (TRX equiv.) HWAC |  |  | 0 | 508.0861 | 0 | 40 | 304.8516 | 0 | Yes | PRA
1.1.1.3.1.3 | 3-pack Radio Unit RUS 01B0 (900P MHz) 20W Activation incl. |  |  | 1 | 7895 | 7895 | 40 | 4737 | 4737 | Yes | PRA
1.1.1.3.1.4 | Digital Unit DUG 20 Basic HW Module (excl.Activation Keys) for E1/T1 |  |  | 1 | 1400.7386 | 1400.7386 | 40 | 840.4431 | 840.4431 | Yes | PRA
1.1.1.3.1.5 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 3 | 313.7654 | 941.2963 | 40 | 188.2593 | 564.7778 | Yes | PRA
1.1.1.3.1.6 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 491.9394 | 40 | 295.1636 | 295.1636 | Yes | PRA
1.1.1.3.1.7 | RBS 6102 Cabinet for up to 12 RU, 230 VAC (no RU, no PSU incl.) |  |  | 0 | 7640 | 0 | 40 | 4584 | 0 | Yes | PRA
1.1.1.3.1.8 | RBS 6102 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 5940.163 | 5940.163 | 40 | 3564.0978 | 3564.0978 | Yes | PRA
1.1.1.3.1.9 | Cabinet Expansion kit from 6 RU to 12 RU (no RU incl.) |  |  | 0 | 666.3441 | 0 | 40 | 399.8064 | 0 | Yes | PRA
1.1.1.3.1.10 | Output Power HWAC 20W->40W (per RU) |  |  | 0 | 967.9358 | 0 | 40 | 580.7615 | 0 | Yes | PRA
1.1.1.3.1.11 | Output Power HWAC 40W->60W (per RU) |  |  | 0 | 967.9358 | 0 | 40 | 580.7615 | 0 | Yes | PRA
1.1.1.3.1.12 | Prepared for internal battery back-up two shelves |  |  | 1 | 1527.5309 | 1527.5309 | 40 | 916.5185 | 916.5185 | Yes | PRA
1.1.1.3.1.13 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 594.8555 | 40 | 356.9133 | 356.9133 | Yes | PRA
1.1.1.3.1.14 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 0 | 5209 | 0 | 40 | 3125.4 | 0 | Yes | PRA
1.1.1.3.1.15 | SAU Support Alarm Unit |  |  | 1 | 275.4361 | 275.4361 | 40 | 165.2617 | 165.2617 | Yes | PRA
1.1.1.3.1.16 | Service Outlet |  |  | 1 | 78.1867 | 78.1867 | 40 | 46.912 | 46.912 | Yes | PRA
1.1.1.3.1.17 | Smoke Detector kit |  |  | 1 | 823.9017 | 823.9017 | 40 | 494.341 | 494.341 | Yes | PRA
1.1.1.3.1.18 | External Alarm OVP (8 ports) |  |  | 1 | 270.6227 | 270.6227 | 40 | 162.3736 | 162.3736 | Yes | PRA
1.1.1.3.1.19 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.1.3.1.20 | Lifting Eyes |  |  | 1 | 56.5262 | 56.5262 | 40 | 33.9157 | 33.9157 | Yes | PRA
1.1.1.3.1.21 | Door Lock + key type (Customer Specific) |  |  | 1 | 212.8868 | 212.8868 | 40 | 127.7321 | 127.7321 | Yes | PRA
1.1.1.3.1.22 | Service Light |  |  | 1 | 206.8764 | 206.8764 | 40 | 124.1258 | 124.1258 | Yes | PRA
1.1.1.3.1.23 | 3-pack Radio Unit RUS 01B2 (1900MHz) 20W HW Activation incl. |  |  | 0 | 8039 | 0 | 40 | 4823.4 | 0 | Yes | PRA
1.1.1.3.1.24 | Single Radio Unit RUS 01B2 (1900MHz) 20W HW Activation incl. |  |  | 0 | 3215 | 0 | 40 | 1929 | 0 | Yes | PRA
1.1.1.3.1.25 | Adaptor Frame 6102 |  |  | 1 | 1142.6334 | 1142.6334 | 40 | 685.58 | 685.58 | Yes | PRA
1.1.2 | 02 Software |  |  |  |  | 0 |  |  | 0
1.1.2.1 | 2G existing RAN SW_1834 |  |  |  |  | 0 | 0 |  | 0
1.1.2.1.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.2.1.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.2.2 | ADD-ON 2G existing RAN SW_1838 |  |  |  |  | 0 | 0 |  | 0
1.1.2.2.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.2.2.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.3 | 03 Licenses |  |  |  |  | 0 |  |  | 0
1.1.3.1 | 2G existing RAN Licenses_1835 |  |  |  |  | 0 | 0 |  | 0
1.1.3.1.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.3.1.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.3.2 | ADD-ON 2G existing RAN Licenses_1839 |  |  |  |  | 0 | 0 |  | 0
1.1.3.2.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.3.2.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.4 | 04 Optional |  |  |  |  | 0 |  |  | 0
1.1.4.1 | 2G existing RAN Optional_1836 |  |  |  |  | 0 | 0 |  | 0
1.1.4.1.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.4.1.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.4.2 | ADD-ON 2G existing RAN Optional_1840 |  |  |  |  | 0 | 0 |  | 0
1.1.4.2.1 | DUMMY (to be deleted) |  |  | 1 | 0 | 0 | 0 | 0 | 0
1.1.4.2.1.1 | EQUIP. RADIO CABINET |  |  | 1 | 0 | 0 | 0 | 0 | 0 | Yes | PRT
1.1.5 | 02 Hardware (Upgrade) |  |  |  |  | 4084651.366 |  |  | 2450790.8196
1.1.5.1 | 3G RBS3106 1x2 to 1x3 30Wpcc (Additional 1xHS-TX45/1xRAXR2e) Use RU22 60W |  |  |  |  | 648052.27 | 40 |  | 388831.362
1.1.5.1.1 | RBS3106 1x2 30Wpcc to 1x3 30Wpcc (2ndBBPool_1xHS-TX45_1xRAXR2e)_RU2160 Rev A |  |  | 29 | 22346.63 | 648052.27 | 40 | 13407.978 | 388831.362
1.1.5.1.1.1 | PRODUCT PACKAGE/WCDMA RBS 3206/3106 (FAP130731) |  |  | 1 | 22346.63 | 648052.27 | 40 | 13407.978 | 388831.362 | Yes | PRT
Price Objects
1.1.5.1.1.1.1 | 1 Dual carrier/sector exp. 60W (RU22, FU12 kit) 2100 | INF 901 0640/6 |  | 1 | 7663.37 | 7663.37 | 40 | 4598.022 | 4598.022
1.1.5.1.1.1.2 | Expansion beyond 2 carrier for 1-3 sectors config. (RUIF kit) | INF 901 0640/7 |  | 1 | 1306.31 | 1306.31 | 40 | 783.786 | 783.786
1.1.5.1.1.1.3 | HS-TX 45 | INF 901 0639/10 |  | 1 | 8664.52 | 8664.52 | 40 | 5198.712 | 5198.712
1.1.5.1.1.1.4 | PSU AC | INF 901 0639/14 |  | 1 | 600.6 | 600.6 | 40 | 360.36 | 360.36
1.1.5.1.1.1.5 | RAXB 128 - 2 ms TTI | INF 901 0639/197 |  | 1 | 4111.83 | 4111.83 | 40 | 2467.098 | 2467.098
1.1.5.2 | 3G RBS3106 2x2 to 2x3 30Wpcc (Additional 1xHS-TX45/1xRAXR2e) Use RU22 60W |  |  |  |  | 240080 | 40 |  | 144048
1.1.5.2.1 | RBS3106 2x2 30Wpcc to 2x3 30Wpcc (2ndBBPool_1xHS-TX45_1xRAXR2e)_RU2160 Rev A |  |  | 8 | 30010 | 240080 | 40 | 18006 | 144048
1.1.5.2.1.1 | PRODUCT PACKAGE/WCDMA RBS 3206/3106 (FAP130731) |  |  | 1 | 30010 | 240080 | 40 | 18006 | 144048 | Yes | PRT
Price Objects
1.1.5.2.1.1.1 | 1 Dual carrier/sector exp. 60W (RU22, FU12 kit) 2100 | INF 901 0640/6 |  | 2 | 7663.37 | 15326.74 | 40 | 4598.022 | 9196.044
1.1.5.2.1.1.2 | Expansion beyond 2 carrier for 1-3 sectors config. (RUIF kit) | INF 901 0640/7 |  | 1 | 1306.31 | 1306.31 | 40 | 783.786 | 783.786
1.1.5.2.1.1.3 | HS-TX 45 | INF 901 0639/10 |  | 1 | 8664.52 | 8664.52 | 40 | 5198.712 | 5198.712
1.1.5.2.1.1.4 | PSU AC | INF 901 0639/14 |  | 1 | 600.6 | 600.6 | 40 | 360.36 | 360.36
1.1.5.2.1.1.5 | RAXB 128 - 2 ms TTI | INF 901 0639/197 |  | 1 | 4111.83 | 4111.83 | 40 | 2467.098 | 2467.098
1.1.5.3 | 3G RBS3106 3x2 to 3x3 30Wpcc (Additional 1xHS-TX45/1xRAXR2e) Use RU22 60W |  |  |  |  | 188366.85 | 40 |  | 113020.11
1.1.5.3.1 | RBS3106 3x2 30Wpcc to 3x3 30Wpcc (2ndBBPool_1xHS-TX45_1xRAXR2e)_RU2160 Rev A |  |  | 5 | 37673.37 | 188366.85 | 40 | 22604.022 | 113020.11
1.1.5.3.1.1 | PRODUCT PACKAGE/WCDMA RBS 3206/3106 (FAP130731) |  |  | 1 | 37673.37 | 188366.85 | 40 | 22604.022 | 113020.11 | Yes | PRT
Price Objects
1.1.5.3.1.1.1 | 1 Dual carrier/sector exp. 60W (RU22, FU12 kit) 2100 | INF 901 0640/6 |  | 3 | 7663.37 | 22990.11 | 40 | 4598.022 | 13794.066
1.1.5.3.1.1.2 | Expansion beyond 2 carrier for 1-3 sectors config. (RUIF kit) | INF 901 0640/7 |  | 1 | 1306.31 | 1306.31 | 40 | 783.786 | 783.786
1.1.5.3.1.1.3 | HS-TX 45 | INF 901 0639/10 |  | 1 | 8664.52 | 8664.52 | 40 | 5198.712 | 5198.712
1.1.5.3.1.1.4 | PSU AC | INF 901 0639/14 |  | 1 | 600.6 | 600.6 | 40 | 360.36 | 360.36
1.1.5.3.1.1.5 | RAXB 128 - 2 ms TTI | INF 901 0639/197 |  | 1 | 4111.83 | 4111.83 | 40 | 2467.098 | 2467.098
1.1.5.4 | 3G RBS3206F 1x2 to 1x3 30Wpcc (Additional 1xHS-TX45/1xRAXR2e) Use RU22 60W |  |  |  |  | 379892.71 | 40 |  | 227935.626
1.1.5.4.1 | RBS3206F 1x2 30Wpcc to 1x3 30Wpcc (2ndBBPool_1xHS-TX45_1xRAXR2e)_RU2160 Rev A |  |  | 17 | 22346.63 | 379892.71 | 40 | 13407.978 | 227935.626
1.1.5.4.1.1 | PRODUCT PACKAGE/WCDMA RBS 3206/3106 (FAP130731) |  |  | 1 | 22346.63 | 379892.71 | 40 | 13407.978 | 227935.626 | Yes | PRT
Price Objects
1.1.5.4.1.1.1 | 1 Dual carrier/sector exp. 60W (RU22, FU12 kit) 2100 | INF 901 0640/6 |  | 1 | 7663.37 | 7663.37 | 40 | 4598.022 | 4598.022
1.1.5.4.1.1.2 | Expansion beyond 2 carrier for 1-3 sectors config. (RUIF kit) | INF 901 0640/7 |  | 1 | 1306.31 | 1306.31 | 40 | 783.786 | 783.786
1.1.5.4.1.1.3 | HS-TX 45 | INF 901 0639/10 |  | 1 | 8664.52 | 8664.52 | 40 | 5198.712 | 5198.712
1.1.5.4.1.1.4 | PSU AC | INF 901 0639/14 |  | 1 | 600.6 | 600.6 | 40 | 360.36 | 360.36
1.1.5.4.1.1.5 | RAXB 128 - 2 ms TTI | INF 901 0639/197 |  | 1 | 4111.83 | 4111.83 | 40 | 2467.098 | 2467.098
1.1.5.5 | 3G RBS6101 1x2 to 1x3 20Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 1009562.2055 | 40 |  | 605737.3233
1.1.5.5.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 228 | 256.7299 | 58534.42 | 40 | 154.0379 | 35120.652
1.1.5.5.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 58534.42 | 40 | 154.0379 | 35120.652 | Yes | PRA
1.1.5.5.2 | RBS6101 WCDMA 1x2 30Wpcc to 1x3 20Wpcc_DUW20/30(0UL/0DL/15Code)_Rev A |  |  | 76 | 12513.5235 | 951027.7856 | 40 | 7508.1141 | 570616.6713
1.1.5.5.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 826915.4209 | 40 | 6528.2796 | 496149.2525 | Yes | PRA
1.1.5.5.2.2 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 65577.9447 | 40 | 517.7206 | 39346.7668 | Yes | PRA
1.1.5.5.2.3 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 7211.7153 | 0 | 40 | 4327.0292 | 0 | Yes | PRA
1.1.5.5.2.4 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.5.2.5 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.5.2.6 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 58534.42 | 40 | 154.0379 | 35120.652 | Yes | PRA
1.1.5.6 | 3G RBS6101 1x2 to 1x3 30Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 48946.9502 | 40 |  | 29368.1701
1.1.5.6.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 9 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415
1.1.5.6.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.6.2 | RBS6101 WCDMA 1x2 30Wpcc to 1x3 30/40Wpcc_DUW20/30(0UL/0DL/15Code)_Rev A |  |  | 3 | 15545.4603 | 46636.381 | 40 | 9327.2762 | 27981.8286
1.1.5.6.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 32641.3982 | 40 | 6528.2796 | 19584.8389 | Yes | PRA
1.1.5.6.2.2 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.5.6.2.3 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 2588.6031 | 40 | 517.7206 | 1553.1618 | Yes | PRA
1.1.5.6.2.4 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 2064.001 | 6192.0031 | 40 | 1238.4006 | 3715.2018 | Yes | PRA
1.1.5.6.2.5 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 7211.7153 | 0 | 40 | 4327.0292 | 0 | Yes | PRA
1.1.5.6.2.6 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.6.2.7 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.7 | 3G RBS6102 1x2 to 1x3 20Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 292241.6911 | 40 |  | 175345.0146
1.1.5.7.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 66 | 256.7299 | 16944.1742 | 40 | 154.0379 | 10166.5045
1.1.5.7.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 16944.1742 | 40 | 154.0379 | 10166.5045 | Yes | PRA
1.1.5.7.2 | RBS6102 WCDMA 1x2 30Wpcc to 1x3 20Wpcc_DUW20/30(0UL/0DL/15Code)_Rev A |  |  | 22 | 12513.5235 | 275297.5169 | 40 | 7508.1141 | 165178.5101
1.1.5.7.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 239370.2534 | 40 | 6528.2796 | 143622.152 | Yes | PRA
1.1.5.7.2.2 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 18983.0893 | 40 | 517.7206 | 11389.8536 | Yes | PRA
1.1.5.7.2.3 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 7211.7153 | 0 | 40 | 4327.0292 | 0 | Yes | PRA
1.1.5.7.2.4 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 16944.1742 | 40 | 154.0379 | 10166.5045 | Yes | PRA
1.1.5.8 | 3G RBS6102 1x2 to 1x3 30Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 130525.2006 | 40 |  | 78315.1203
1.1.5.8.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 24 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107
1.1.5.8.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107 | Yes | PRA
1.1.5.8.2 | RBS6102 WCDMA 1x2 30Wpcc to 1x3 30/40Wpcc_DUW20/30(0UL/0DL/15Code)_Rev A |  |  | 8 | 15545.4603 | 124363.6827 | 40 | 9327.2762 | 74618.2096
1.1.5.8.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 87043.7285 | 40 | 6528.2796 | 52226.2371 | Yes | PRA
1.1.5.8.2.2 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 7743.4866 | 40 | 580.7615 | 4646.0919 | Yes | PRA
1.1.5.8.2.3 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 6902.9416 | 40 | 517.7206 | 4141.7649 | Yes | PRA
1.1.5.8.2.4 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 2064.001 | 16512.0081 | 40 | 1238.4006 | 9907.2049 | Yes | PRA
1.1.5.8.2.5 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 7211.7153 | 0 | 40 | 4327.0292 | 0 | Yes | PRA
1.1.5.8.2.6 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107 | Yes | PRA
1.1.5.9 | 3G RBS6102 2x2 to 2x3 20Wpcc Additional DUW30(Additional 60HS codes) |  |  |  |  | 62747.8416 | 40 |  | 37648.705
1.1.5.9.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 24 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107
1.1.5.9.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107 | Yes | PRA
1.1.5.9.2 | RBS6102 WCDMA 2x2 30Wpcc to 2x3 20Wpcc_DUW30/30(0UL/0DL/30Code)_Rev A |  |  | 4 | 14146.5809 | 56586.3237 | 40 | 8487.9486 | 33951.7942
1.1.5.9.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 43521.8643 | 40 | 6528.2796 | 26113.1186 | Yes | PRA
1.1.5.9.2.2 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 6902.9416 | 40 | 517.7206 | 4141.7649 | Yes | PRA
1.1.5.9.2.3 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 6161.5179 | 40 | 154.0379 | 3696.9107 | Yes | PRA
1.1.5.10 | 3G RBS6102 2x2 to 2x3 30Wpcc Additional DUW30(Additional 60HS codes) |  |  |  |  | 217508.3408 | 40 |  | 130505.0045
1.1.5.10.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 60 | 256.7299 | 15403.7947 | 40 | 154.0379 | 9242.2768
1.1.5.10.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 15403.7947 | 40 | 154.0379 | 9242.2768 | Yes | PRA
1.1.5.10.2 | RBS6102 WCDMA 2x2 30Wpcc to 2x3 30/40Wpcc_DUW30/30(0UL/0DL/30Code)_Rev A |  |  | 10 | 20210.4546 | 202104.546 | 40 | 12126.2728 | 121262.7276
1.1.5.10.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 108804.6606 | 40 | 6528.2796 | 65282.7964 | Yes | PRA
1.1.5.10.2.2 | Output Power HWAC 20W->40W (per RU) |  |  | 2 | 967.9358 | 19358.7164 | 40 | 580.7615 | 11615.2298 | Yes | PRA
1.1.5.10.2.3 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 17257.3539 | 40 | 517.7206 | 10354.4123 | Yes | PRA
1.1.5.10.2.4 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 2 | 2064.001 | 41280.0204 | 40 | 1238.4006 | 24768.0122 | Yes | PRA
1.1.5.10.2.5 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.10.2.6 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 15403.7947 | 40 | 154.0379 | 9242.2768 | Yes | PRA
1.1.5.11 | 3G RBS6102 3x2 to 3x3 30Wpcc Additional DUW30(Additional 90HS codes) |  |  |  |  | 340002.394 | 40 |  | 204001.4364
1.1.5.11.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 117 | 256.7299 | 30037.3997 | 40 | 154.0379 | 18022.4398
1.1.5.11.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 30037.3997 | 40 | 154.0379 | 18022.4398 | Yes | PRA
1.1.5.11.2 | RBS6102 WCDMA 3x2 30Wpcc to 3x3 30/40Wpcc_DUW30/30(0UL/0DL/45Code)_Rev A |  |  | 13 | 23843.4611 | 309964.9943 | 40 | 14306.0767 | 185978.9966
1.1.5.11.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 141446.0588 | 40 | 6528.2796 | 84867.6353 | Yes | PRA
1.1.5.11.2.2 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 37749.497 | 40 | 580.7615 | 22649.6982 | Yes | PRA
1.1.5.11.2.3 | WCDMA Cell Carrier HWAC |  |  | 3 | 862.8677 | 33651.8401 | 40 | 517.7206 | 20191.104 | Yes | PRA
1.1.5.11.2.4 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.11.2.5 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 30037.3997 | 40 | 154.0379 | 18022.4398 | Yes | PRA
1.1.5.11.2.6 | 3-pack WCDMA Radio Unit RUW 01B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 5160.0153 | 67080.1987 | 40 | 3096.0092 | 40248.1192 | Yes | PRA
1.1.5.12 | 3G RBS6201 1x2 to 1x3 20Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 39851.1397 | 40 |  | 23910.6838
1.1.5.12.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 9 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415
1.1.5.12.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.12.2 | RBS6201 WCDMA 1x2 30Wpcc to 1x3 20Wpcc_DUW20/30(0UL/0DL/15Code)_Rev A |  |  | 3 | 12513.5235 | 37540.5705 | 40 | 7508.1141 | 22524.3423
1.1.5.12.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 32641.3982 | 40 | 6528.2796 | 19584.8389 | Yes | PRA
1.1.5.12.2.2 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 2588.6031 | 40 | 517.7206 | 1553.1618 | Yes | PRA
1.1.5.12.2.3 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.13 | 3G RBS6201 3x2 to 3x3 30Wpcc Additional DUW30(Additional 90HS codes) |  |  |  |  | 132338.9787 | 40 |  | 79403.3872
1.1.5.13.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 45 | 256.7299 | 11552.846 | 40 | 154.0379 | 6931.7076
1.1.5.13.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 11552.846 | 40 | 154.0379 | 6931.7076 | Yes | PRA
1.1.5.13.2 | RBS6201 WCDMA 3x2 30Wpcc to 3x3 30/40Wpcc_DUW30/30(0UL/0DL/45Code)_Rev A |  |  | 5 | 24157.2265 | 120786.1327 | 40 | 14494.3359 | 72471.6796
1.1.5.13.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 54402.3303 | 40 | 6528.2796 | 32641.3982 | Yes | PRA
1.1.5.13.2.2 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 1 | 313.7654 | 1568.8272 | 40 | 188.2593 | 941.2963 | Yes | PRA
1.1.5.13.2.3 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 14519.0373 | 40 | 580.7615 | 8711.4224 | Yes | PRA
1.1.5.13.2.4 | WCDMA Cell Carrier HWAC |  |  | 3 | 862.8677 | 12943.0154 | 40 | 517.7206 | 7765.8092 | Yes | PRA
1.1.5.13.2.5 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.13.2.6 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 11552.846 | 40 | 154.0379 | 6931.7076 | Yes | PRA
1.1.5.13.2.7 | 3-pack WCDMA Radio Unit RUW 01B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 5160.0153 | 25800.0764 | 40 | 3096.0092 | 15480.0458 | Yes | PRA
1.1.5.14 | 3G RBS6601 1x2 to 1x3 30Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 51094.4277 | 40 |  | 30656.6566
1.1.5.14.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 9 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415
1.1.5.14.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.14.2 | RBS6601 5m Fiber + SFP+Pole Bracket for 1 sector |  |  | 3 | 144.3173 | 432.9518 | 40 | 86.5904 | 259.7711
1.1.5.14.2.1 | PRODUCT PACKAGE/Main Remote Site Product (FAP1301839) |  |  | 1 | 144.3173 | 432.9518 | 40 | 86.5904 | 259.7711 | Yes | PRT
Price Objects
1.1.5.14.2.1.1 | POLE MOUNTING FIXTURE CEU | NTM 202 20/1 |  | 2 | 27.17 | 54.34 | 40 | 16.302 | 32.604
1.1.5.14.2.1.2 | CONNECTION CABLE/2F LCD-LCD SM | RPM 253 3577/5000 |  | 1 | 32.7773 | 32.7773 | 40 | 19.6664 | 19.6664
1.1.5.14.2.1.3 | OPTICAL TRANSCEIVER/TRX SM CPRI 614.4-24 | RDH 102 47/2 |  | 2 | 28.6 | 57.2 | 40 | 17.16 | 34.32
1.1.5.14.3 | RBS6601 WCDMA 1x2 30Wpcc to 1x3 30Wpcc_DUW20/30(0UL/0DL/15Code) Rev A |  |  | 3 | 16116.9689 | 48350.9066 | 40 | 9670.1813 | 29010.544
1.1.5.14.3.1 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 7211.7153 | 21635.1458 | 40 | 4327.0292 | 12981.0875 | Yes | PRA
1.1.5.14.3.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 101.97 | 40 | 20.394 | 61.182 | Yes | PRA
1.1.5.14.3.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 4877.6264 | 40 | 975.5253 | 2926.5758 | Yes | PRA
1.1.5.14.3.4 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.5.14.3.5 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 2588.6031 | 40 | 517.7206 | 1553.1618 | Yes | PRA
1.1.5.14.3.6 | WCDMA Remote Radio Unit RRUW 01B1 (2100 MHz) -48VDC , 20W HW Activation incl. |  |  | 1 | 4195.5049 | 12586.5147 | 40 | 2517.3029 | 7551.9088 | Yes | PRA
1.1.5.14.3.7 | Kit for interconnection of 2 DUW units |  |  | 1 | 448.89 | 1346.67 | 40 | 269.334 | 808.002 | Yes | PRA
1.1.5.14.3.8 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.14.3.9 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.14.3.10 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.5.15 | 3G RBS6601 2x2 to 2x3 30Wpcc Additional DUW30(Additional 60HS codes) |  |  |  |  | 28411.2319 | 40 |  | 17046.7391
1.1.5.15.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 6 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277
1.1.5.15.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277 | Yes | PRA
1.1.5.15.2 | RBS6601 5m Fiber + SFP+Pole Bracket for 2 sector |  |  | 1 | 288.6346 | 288.6346 | 40 | 173.1807 | 173.1807
1.1.5.15.2.1 | PRODUCT PACKAGE/Main Remote Site Product (FAP1301839) |  |  | 1 | 288.6346 | 288.6346 | 40 | 173.1807 | 173.1807 | Yes | PRT
Price Objects
1.1.5.15.2.1.1 | POLE MOUNTING FIXTURE CEU | NTM 202 20/1 |  | 4 | 27.17 | 108.68 | 40 | 16.302 | 65.208
1.1.5.15.2.1.2 | CONNECTION CABLE/2F LCD-LCD SM | RPM 253 3577/5000 |  | 2 | 32.7773 | 65.5546 | 40 | 19.6664 | 39.3327
1.1.5.15.2.1.3 | OPTICAL TRANSCEIVER/TRX SM CPRI 614.4-24 | RDH 102 47/2 |  | 4 | 28.6 | 114.4 | 40 | 17.16 | 68.64
1.1.5.15.3 | RBS6601 WCDMA 2x2 30Wpcc to 2x3 30Wpcc_DUW30/30(0UL/0DL/30Code) Rev A |  |  | 1 | 26582.2178 | 26582.2178 | 40 | 15949.3307 | 15949.3307
1.1.5.15.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 10880.4661 | 40 | 6528.2796 | 6528.2796 | Yes | PRA
1.1.5.15.3.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 33.99 | 40 | 20.394 | 20.394 | Yes | PRA
1.1.5.15.3.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 1625.8755 | 40 | 975.5253 | 975.5253 | Yes | PRA
1.1.5.15.3.4 | Output Power HWAC 20W->40W (per RU) |  |  | 2 | 967.9358 | 1935.8716 | 40 | 580.7615 | 1161.523 | Yes | PRA
1.1.5.15.3.5 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 1725.7354 | 40 | 517.7206 | 1035.4412 | Yes | PRA
1.1.5.15.3.6 | WCDMA Remote Radio Unit RRUW 01B1 (2100 MHz) -48VDC , 20W HW Activation incl. |  |  | 2 | 4195.5049 | 8391.0098 | 40 | 2517.3029 | 5034.6059 | Yes | PRA
1.1.5.15.3.7 | Kit for interconnection of 2 DUW units |  |  | 1 | 448.89 | 448.89 | 40 | 269.334 | 269.334 | Yes | PRA
1.1.5.15.3.8 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.15.3.9 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.15.3.10 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277 | Yes | PRA
1.1.5.16 | 3G RBS6601 3x2 to 3x3 30Wpcc Additional DUW30(Additional 90HS codes) |  |  |  |  | 72523.7941 | 40 |  | 43514.2765
1.1.5.16.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 18 | 256.7299 | 4621.1384 | 40 | 154.0379 | 2772.6831
1.1.5.16.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 4621.1384 | 40 | 154.0379 | 2772.6831 | Yes | PRA
1.1.5.16.2 | RBS6601 5m Fiber + SFP+Pole Bracket for 3 sector |  |  | 2 | 432.9518 | 865.9037 | 40 | 259.7711 | 519.5422
1.1.5.16.2.1 | PRODUCT PACKAGE/Main Remote Site Product (FAP1301839) |  |  | 1 | 432.9518 | 865.9037 | 40 | 259.7711 | 519.5422 | Yes | PRT
Price Objects
1.1.5.16.2.1.1 | POLE MOUNTING FIXTURE CEU | NTM 202 20/1 |  | 6 | 27.17 | 163.02 | 40 | 16.302 | 97.812
1.1.5.16.2.1.2 | CONNECTION CABLE/2F LCD-LCD SM | RPM 253 3577/5000 |  | 3 | 32.7773 | 98.3318 | 40 | 19.6664 | 58.9991
1.1.5.16.2.1.3 | OPTICAL TRANSCEIVER/TRX SM CPRI 614.4-24 | RDH 102 47/2 |  | 6 | 28.6 | 171.6 | 40 | 17.16 | 102.96
1.1.5.16.3 | RBS6601 WCDMA 3x2 30Wpcc to 3x3 30Wpcc_DUW30/30(0UL/0DL/45Code) Rev A |  |  | 2 | 33378.716 | 66757.432 | 40 | 20027.2296 | 40054.4592
1.1.5.16.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 21760.9321 | 40 | 6528.2796 | 13056.5593 | Yes | PRA
1.1.5.16.3.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 67.98 | 40 | 20.394 | 40.788 | Yes | PRA
1.1.5.16.3.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 3251.7509 | 40 | 975.5253 | 1951.0506 | Yes | PRA
1.1.5.16.3.4 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 5807.6149 | 40 | 580.7615 | 3484.569 | Yes | PRA
1.1.5.16.3.5 | WCDMA Cell Carrier HWAC |  |  | 3 | 862.8677 | 5177.2062 | 40 | 517.7206 | 3106.3237 | Yes | PRA
1.1.5.16.3.6 | WCDMA Remote Radio Unit RRUW 01B1 (2100 MHz) -48VDC , 20W HW Activation incl. |  |  | 3 | 4195.5049 | 25173.0294 | 40 | 2517.3029 | 15103.8176 | Yes | PRA
1.1.5.16.3.7 | Kit for interconnection of 2 DUW units |  |  | 1 | 448.89 | 897.78 | 40 | 269.334 | 538.668 | Yes | PRA
1.1.5.16.3.8 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.16.3.9 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.16.3.10 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 4621.1384 | 40 | 154.0379 | 2772.6831 | Yes | PRA
1.1.5.16.4 | SSC-02 Expansion_For Addn 2 RRU |  |  | 2 | 139.66 | 279.32 | 40 | 83.796 | 167.592
1.1.5.16.4.1 | PRODUCT PACKAGE/Power system; (SSC-02) (FAP1301878) |  |  | 1 | 139.66 | 279.32 | 40 | 83.796 | 167.592 | Yes | PRT
Price Objects
1.1.5.16.4.1.1 | Distribution CB 2-32A | INF 901 6406/19 |  | 2 | 15.02 | 30.04 | 40 | 9.012 | 18.024
1.1.5.16.4.1.2 | RRU SPD protection Kit | INF 901 6406/3 |  | 2 | 54.81 | 109.62 | 40 | 32.886 | 65.772
1.1.5.17 | 3G RBS6601 1x2 to 1x3 20Wpcc Additional DUW30(Additional 30HS codes) |  |  |  |  | 184709.6243 | 40 |  | 110825.7746
1.1.5.17.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 36 | 256.7299 | 9242.2768 | 40 | 154.0379 | 5545.3661
1.1.5.17.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 9242.2768 | 40 | 154.0379 | 5545.3661 | Yes | PRA
1.1.5.17.2 | RBS6601 WCDMA 1x2 30Wpcc to 1x3 20Wpcc_DUW20/30(0UL/0DL/15Code) Rev A |  |  | 12 | 14622.279 | 175467.3475 | 40 | 8773.3674 | 105280.4085
1.1.5.17.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 130565.5928 | 40 | 6528.2796 | 78339.3557 | Yes | PRA
1.1.5.17.2.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 407.88 | 40 | 20.394 | 244.728 | Yes | PRA
1.1.5.17.2.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 19510.5055 | 40 | 975.5253 | 11706.3033 | Yes | PRA
1.1.5.17.2.4 | WCDMA Cell Carrier HWAC |  |  | 1 | 862.8677 | 10354.4123 | 40 | 517.7206 | 6212.6474 | Yes | PRA
1.1.5.17.2.5 | Kit for interconnection of 2 DUW units |  |  | 1 | 448.89 | 5386.68 | 40 | 269.334 | 3232.008 | Yes | PRA
1.1.5.17.2.6 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.17.2.7 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.17.2.8 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 9242.2768 | 40 | 154.0379 | 5545.3661 | Yes | PRA
1.1.5.18 | 3G RBS6601 2x2 to 2x3 20Wpcc Additional DUW30(Additional 60HS codes) |  |  |  |  | 17795.7159 | 40 |  | 10677.4295
1.1.5.18.1 | DUW BB HW Activation Fee HS Codes p.5 HS-codes |  |  | 6 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277
1.1.5.18.1.1 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 1 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277 | Yes | PRA
1.1.5.18.2 | RBS6601 WCDMA 2x2 30Wpcc to 2x3 20Wpcc_DUW30/30(0UL/0DL/30Code) Rev A |  |  | 1 | 16255.3364 | 16255.3364 | 40 | 9753.2018 | 9753.2018
1.1.5.18.2.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 10880.4661 | 40 | 6528.2796 | 6528.2796 | Yes | PRA
1.1.5.18.2.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 33.99 | 40 | 20.394 | 20.394 | Yes | PRA
1.1.5.18.2.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 1625.8755 | 40 | 975.5253 | 975.5253 | Yes | PRA
1.1.5.18.2.4 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 1725.7354 | 40 | 517.7206 | 1035.4412 | Yes | PRA
1.1.5.18.2.5 | Kit for interconnection of 2 DUW units |  |  | 1 | 448.89 | 448.89 | 40 | 269.334 | 269.334 | Yes | PRA
1.1.5.18.2.6 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.18.2.7 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.5.18.2.8 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277 | Yes | PRA
1.1.6 | 04 Software (Upgrade) |  |  |  |  | 1475886.4345 |  |  | 202509.0216
1.1.6.1 | 3G 3cc 2nd Carrier: Existing 3HScc SW Features |  |  |  |  | 608531.5902 | 85.6 |  | 87628.549
1.1.6.1.1 | 21 Mbps SW features, per 3HScc (TPCM only) |  |  | 48 | 2292.1177 | 110021.6478 | 85.6 | 330.0649 | 15843.1173
1.1.6.1.1.1 | FAJ1211328 R1, Enhanced Layer2, 3HScc |  |  | 1 | 509.3595 | 24449.2551 | 85.6 | 73.3478 | 3520.6927 | Yes | PRA
1.1.6.1.1.2 | FAJ1211331 R1, HSDPA 64 QAM, 3HScc |  |  | 1 | 1782.7582 | 85572.3927 | 85.6 | 256.7172 | 12322.4246 | Yes | PRA
1.1.6.1.2 | FAJ1211106 R1, IF/IRAT mobility on HSPA p.3HScc |  |  | 48 | 303.0689 | 14547.3068 | 85.6 | 43.6419 | 2094.8122
1.1.6.1.2.1 | FAJ1211106 R1, IF/IRAT mobility on HSPA, 3HScc |  |  | 1 | 303.0689 | 14547.3068 | 85.6 | 43.6419 | 2094.8122 | Yes | PRA
1.1.6.1.3 | HSDPA up to 32 users per cell, 3HScc (TPCM only) |  |  | 48 | 1069.6549 | 51343.4356 | 85.6 | 154.0303 | 7393.4547
1.1.6.1.3.1 | FAJ1210398 R1, HSDPA up to 32 users, 3HScc |  |  | 1 | 1069.6549 | 51343.4356 | 85.6 | 154.0303 | 7393.4547 | Yes | PRA
1.1.6.1.4 | Node B SW features, per 3 HScc (TPCM only) |  |  | 48 | 9012.9 | 432619.2 | 85.6 | 1297.8576 | 62297.1648
1.1.6.1.4.1 | Node B SW features, per 3 HScc |  |  | 1 | 9012.9 | 432619.2 | 85.6 | 1297.8576 | 62297.1648 | Yes
1.1.6.2 | 3G 3cc 3rd Carrier: HS on 3rd Carrier |  |  |  |  | 325284.298 | 88 |  | 39034.1158
1.1.6.2.1 | 21 Mbps SW features, per 3HScc (TPCM only) |  |  | 25 | 2292.1177 | 57302.9416 | 88 | 275.0541 | 6876.353
1.1.6.2.1.1 | FAJ1211328 R1, Enhanced Layer2, 3HScc |  |  | 1 | 509.3595 | 12733.987 | 88 | 61.1231 | 1528.0784 | Yes | PRA
1.1.6.2.1.2 | FAJ1211331 R1, HSDPA 64 QAM, 3HScc |  |  | 1 | 1782.7582 | 44568.9545 | 88 | 213.931 | 5348.2745 | Yes | PRA
1.1.6.2.2 | FAJ1211106 R1, IF/IRAT mobility on HSPA p.3HScc |  |  | 25 | 303.0689 | 7576.7223 | 88 | 36.3683 | 909.2067
1.1.6.2.2.1 | FAJ1211106 R1, IF/IRAT mobility on HSPA, 3HScc |  |  | 1 | 303.0689 | 7576.7223 | 88 | 36.3683 | 909.2067 | Yes | PRA
1.1.6.2.3 | FAJ1211467, HSDPA Inter frequency Load Sharing p.3HScc |  |  | 25 | 333.6305 | 8340.7615 | 88 | 40.0357 | 1000.8914
1.1.6.2.3.1 | FAJ1211467 R1, HSDPA Inter freq load sharing, 3HScc |  |  | 1 | 333.6305 | 8340.7615 | 88 | 40.0357 | 1000.8914 | Yes | PRA
1.1.6.2.4 | HSDPA up to 32 users per cell, 3HScc (TPCM only) |  |  | 25 | 1069.6549 | 26741.3727 | 88 | 128.3586 | 3208.9647
1.1.6.2.4.1 | FAJ1210398 R1, HSDPA up to 32 users, 3HScc |  |  | 1 | 1069.6549 | 26741.3727 | 88 | 128.3586 | 3208.9647 | Yes | PRA
1.1.6.2.5 | Node B SW features, per 3 HScc (TPCM only) |  |  | 25 | 9012.9 | 225322.5 | 88 | 1081.548 | 27038.7
1.1.6.2.5.1 | Node B SW features, per 3 HScc |  |  | 1 | 9012.9 | 225322.5 | 88 | 1081.548 | 27038.7 | Yes
1.1.6.3 | 3G 3cc 1st Carrier: For HSDPA IFLS |  |  |  |  | 74065.9621 | 76 |  | 17775.8309
1.1.6.3.1 | FAJ1211467, HSDPA Inter frequency Load Sharing p.3HScc |  |  | 222 | 333.6305 | 74065.9621 | 76 | 80.0713 | 17775.8309
1.1.6.3.1.1 | FAJ1211467 R1, HSDPA Inter freq load sharing, 3HScc |  |  | 1 | 333.6305 | 74065.9621 | 76 | 80.0713 | 17775.8309 | Yes | PRA
1.1.6.4 | 3G 3cc 2nd Carrier: For HSDPA IFLS |  |  |  |  | 16014.2621 | 85.6 |  | 2306.0537
1.1.6.4.1 | FAJ1211467, HSDPA Inter frequency Load Sharing p.3HScc |  |  | 48 | 333.6305 | 16014.2621 | 85.6 | 48.0428 | 2306.0537
1.1.6.4.1.1 | FAJ1211467 R1, HSDPA Inter freq load sharing, 3HScc |  |  | 1 | 333.6305 | 16014.2621 | 85.6 | 48.0428 | 2306.0537 | Yes | PRA
1.1.6.5 | 3G 3cc 2nd Carrier: EUL |  |  |  |  | 63568.0632 | 85.6 |  | 9153.8011
1.1.6.5.1 | FAJ1211112 R1 EUL Scheduler support for 6 cell carriers p.Node |  |  | 48 | 1324.3346 | 63568.0632 | 85.6 | 190.7042 | 9153.8011
1.1.6.5.1.1 | FAJ1211112 R1, EUL Scheduler support for 6 cell carriers, Node |  |  | 1 | 1324.3346 | 63568.0632 | 85.6 | 190.7042 | 9153.8011 | Yes | PRA
1.1.6.6 | 3G 3cc 3rd Carrier: EUL |  |  |  |  | 388422.259 | 88 |  | 46610.6711
1.1.6.6.1 | FAJ1211518 R1, EUL for large RBS configurations p.Node |  |  | 222 | 1749.6498 | 388422.259 | 88 | 209.958 | 46610.6711
1.1.6.6.1.1 | FAJ1211518 R1, EUL for large RBS configurations, Node |  |  | 1 | 1749.6498 | 388422.259 | 88 | 209.958 | 46610.6711 | Yes | PRA
1.1.7 | 01 Hardware (Mod) |  |  |  |  | 2319319.2942 |  |  | 1391591.5765
1.1.7.1 | 3G 3G Batteries |  |  |  |  | 314892.77 | 40 |  | 188935.662
1.1.7.1.1 | Battery set, 48V/100 Ah (NSB) for BBS 6201 (1 piece) |  |  | 6 | 1419 | 8514 | 40 | 851.4 | 5108.4
1.1.7.1.1.1 | Battery set, 48V/100 Ah (NSB) |  |  | 1 | 1419 | 8514 | 40 | 851.4 | 5108.4 | Yes | PRA
1.1.7.1.2 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 (1 piece) |  |  | 25 | 5209 | 130225 | 40 | 3125.4 | 78135
1.1.7.1.2.1 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 1 | 5209 | 130225 | 40 | 3125.4 | 78135 | Yes | PRA
1.1.7.1.3 | BBS6201-No Batt. |  |  | 6 | 1300.84 | 7805.04 | 40 | 780.504 | 4683.024
1.1.7.1.3.1 | RBS 6201 interface |  |  | 1 | 290.63 | 1743.78 | 40 | 174.378 | 1046.268 | Yes | PRA
1.1.7.1.3.2 | RBS DC cable, 20 m (< 2x10m), 50 mm2 |  |  | 1 | 297 | 1782 | 40 | 178.2 | 1069.2 | Yes | PRA
1.1.7.1.3.3 | Battery set, 48V/100 Ah (NSB) |  |  | 0 | 1419 | 0 | 40 | 851.4 | 0 | Yes | PRA
1.1.7.1.3.4 | Compact rack with PCU-DC |  |  | 1 | 713.21 | 4279.26 | 40 | 427.926 | 2567.556 | Yes | PRA
1.1.7.1.4 | BBU6101 (170Ah) (No Batteries) |  |  | 16 | 5811.78 | 92988.48 | 40 | 3487.068 | 55793.088
1.1.7.1.4.1 | Standard Door Lock/Key |  |  | 1 | 121.31 | 1940.96 | 40 | 72.786 | 1164.576 | Yes | PRA
1.1.7.1.4.2 | BBU 6101 with Active Cooling |  |  | 1 | 5658.47 | 90535.52 | 40 | 3395.082 | 54321.312 | Yes | PRA
1.1.7.1.4.3 | Outdoor Battery Accessory Kit |  |  | 1 | 32 | 512 | 40 | 19.2 | 307.2 | Yes | PRA
1.1.7.1.5 | NSB Std Battery Set, 48V/170Ah For BBU6101 (1 Set) |  |  | 16 | 2153.15 | 34450.4 | 40 | 1291.89 | 20670.24
1.1.7.1.5.1 | Battery Set, 48V/170 Ah (NSB Std) |  |  | 1 | 2153.15 | 34450.4 | 40 | 1291.89 | 20670.24 | Yes | PRA
1.1.7.1.6 | NSB Std Battery Set, 48V/170Ah For SSC-02 (1 Set) |  |  | 19 | 2153.15 | 40909.85 | 40 | 1291.89 | 24545.91
1.1.7.1.6.1 | Battery Set, 48V/170 Ah (NSB Std) |  |  | 1 | 2153.15 | 40909.85 | 40 | 1291.89 | 24545.91 | Yes | PRA
1.1.7.2 | 3G Change-out RBS6101 1x2 30Wpcc 1xDUW20(15HS codes) (Stand-Alone) |  |  |  |  | 433022.0553 | 40 |  | 259813.2332
1.1.7.2.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 34 | 214.5295 | 7294.0023 | 40 | 128.7177 | 4376.4014
1.1.7.2.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 7294.0023 | 40 | 128.7177 | 4376.4014 | Yes | PRA
1.1.7.2.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 88 | 214.5295 | 18878.5942 | 40 | 128.7177 | 11327.1565
1.1.7.2.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 18878.5942 | 40 | 128.7177 | 11327.1565 | Yes | PRA
1.1.7.2.3 | RBS6101 WCDMA 1x2 30Wpcc_DUW20(0UL/0DL/15Code)_Rev A |  |  | 16 | 25428.0912 | 406849.4588 | 40 | 15256.8547 | 244109.6753
1.1.7.2.3.1 | RBS 6101 Cabinet, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 6097.033 | 97552.5277 | 40 | 3658.2198 | 58531.5166 | Yes | PRA
1.1.7.2.3.2 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 8602.2666 | 40 | 322.585 | 5161.36 | Yes | PRA
1.1.7.2.3.3 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 2 | 313.7654 | 10040.4941 | 40 | 188.2593 | 6024.2964 | Yes | PRA
1.1.7.2.3.4 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 15486.9731 | 40 | 580.7615 | 9292.1839 | Yes | PRA
1.1.7.2.3.5 | Output Power HWAC 40W->60W (per RU) |  |  | 1 | 967.9358 | 15486.9731 | 40 | 580.7615 | 9292.1839 | Yes | PRA
1.1.7.2.3.6 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 27611.7662 | 40 | 517.7206 | 16567.0597 | Yes | PRA
1.1.7.2.3.7 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 2064.001 | 33024.0163 | 40 | 1238.4006 | 19814.4098 | Yes | PRA
1.1.7.2.3.8 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 7211.7153 | 115387.4443 | 40 | 4327.0292 | 69232.4666 | Yes | PRA
1.1.7.2.3.9 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.2.3.10 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.2.3.11 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 12323.0358 | 40 | 154.0379 | 7393.8215 | Yes | PRA
1.1.7.2.3.12 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 15956.8063 | 40 | 598.3802 | 9574.0838 | Yes | PRA
1.1.7.2.3.13 | Prepared for external battery back-up |  |  | 1 | 938.1638 | 15010.6201 | 40 | 562.8983 | 9006.3721 | Yes | PRA
1.1.7.2.3.14 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 9517.6875 | 40 | 356.9133 | 5710.6125 | Yes | PRA
1.1.7.2.3.15 | SAU Support Alarm Unit |  |  | 1 | 275.4361 | 4406.9782 | 40 | 165.2617 | 2644.1869 | Yes | PRA
1.1.7.2.3.16 | Service Outlet |  |  | 1 | 78.1867 | 1250.9869 | 40 | 46.912 | 750.5921 | Yes | PRA
1.1.7.2.3.17 | Smoke Detector kit |  |  | 1 | 823.9017 | 13182.4271 | 40 | 494.341 | 7909.4563 | Yes | PRA
1.1.7.2.3.18 | External Alarm OVP (8 ports) |  |  | 1 | 270.6227 | 4329.9631 | 40 | 162.3736 | 2597.9778 | Yes | PRA
1.1.7.2.3.19 | Site LAN connection |  |  | 1 | 60.1426 | 962.2819 | 40 | 36.0856 | 577.3692 | Yes | PRA
1.1.7.2.3.20 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.7.2.3.21 | Door Lock + key type (Customer Specific) |  |  | 1 | 212.8868 | 3406.1887 | 40 | 127.7321 | 2043.7132 | Yes | PRA
1.1.7.2.3.22 | Service Light |  |  | 1 | 206.8764 | 3310.0216 | 40 | 124.1258 | 1986.013 | Yes | PRA
1.1.7.3 | 3G Change-out RBS6102 1x2 30Wpcc 1xDUW20(15HS codes) (Stand-Alone) |  |  |  |  | 350654.1704 | 40 |  | 210392.5022
1.1.7.3.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 30 | 214.5295 | 6435.8844 | 40 | 128.7177 | 3861.5306
1.1.7.3.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 6435.8844 | 40 | 128.7177 | 3861.5306 | Yes | PRA
1.1.7.3.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 86 | 214.5295 | 18449.5352 | 40 | 128.7177 | 11069.7211
1.1.7.3.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 18449.5352 | 40 | 128.7177 | 11069.7211 | Yes | PRA
1.1.7.3.3 | RBS6102 WCDMA 1x2 30Wpcc_DUW20(0UL/0DL/15Code)_Rev A |  |  | 12 | 27147.3959 | 325768.7508 | 40 | 16288.4375 | 195461.2505
1.1.7.3.3.1 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 5903.2726 | 40 | 295.1636 | 3541.9636 | Yes | PRA
1.1.7.3.3.2 | Prepared for internal battery back-up one shelf |  |  | 1 | 926.1429 | 11113.7145 | 40 | 555.6857 | 6668.2287 | Yes | PRA
1.1.7.3.3.3 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 6451.7 | 40 | 322.585 | 3871.02 | Yes | PRA
1.1.7.3.3.4 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 3 | 313.7654 | 11295.5558 | 40 | 188.2593 | 6777.3335 | Yes | PRA
1.1.7.3.3.5 | RBS 6102 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 5940.163 | 71281.9559 | 40 | 3564.0978 | 42769.1736 | Yes | PRA
1.1.7.3.3.6 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 11615.2298 | 40 | 580.7615 | 6969.1379 | Yes | PRA
1.1.7.3.3.7 | Output Power HWAC 40W->60W (per RU) |  |  | 1 | 967.9358 | 11615.2298 | 40 | 580.7615 | 6969.1379 | Yes | PRA
1.1.7.3.3.8 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 20708.8247 | 40 | 517.7206 | 12425.2948 | Yes | PRA
1.1.7.3.3.9 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 2064.001 | 24768.0122 | 40 | 1238.4006 | 14860.8073 | Yes | PRA
1.1.7.3.3.10 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 7211.7153 | 86540.5832 | 40 | 4327.0292 | 51924.3499 | Yes | PRA
1.1.7.3.3.11 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.3.3.12 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.3.3.13 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 9242.2768 | 40 | 154.0379 | 5545.3661 | Yes | PRA
1.1.7.3.3.14 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 11967.6047 | 40 | 598.3802 | 7180.5628 | Yes | PRA
1.1.7.3.3.15 | Prepared for internal battery back-up two shelves |  |  | 0 | 1527.5309 | 0 | 40 | 916.5185 | 0 | Yes | PRA
1.1.7.3.3.16 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 7138.2656 | 40 | 356.9133 | 4282.9594 | Yes | PRA
1.1.7.3.3.17 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 0 | 5209 | 0 | 40 | 3125.4 | 0 | Yes | PRA
1.1.7.3.3.18 | SAU Support Alarm Unit |  |  | 1 | 275.4361 | 3305.2337 | 40 | 165.2617 | 1983.1402 | Yes | PRA
1.1.7.3.3.19 | Service Outlet |  |  | 1 | 78.1867 | 938.2402 | 40 | 46.912 | 562.9441 | Yes | PRA
1.1.7.3.3.20 | Smoke Detector kit |  |  | 1 | 823.9017 | 9886.8203 | 40 | 494.341 | 5932.0922 | Yes | PRA
1.1.7.3.3.21 | External Alarm OVP (8 ports) |  |  | 1 | 270.6227 | 3247.4723 | 40 | 162.3736 | 1948.4834 | Yes | PRA
1.1.7.3.3.22 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.7.3.3.23 | Lifting Eyes |  |  | 0 | 56.5262 | 0 | 40 | 33.9157 | 0 | Yes | PRA
1.1.7.3.3.24 | Door Lock + key type (Customer Specific) |  |  | 1 | 212.8868 | 2554.6415 | 40 | 127.7321 | 1532.7849 | Yes | PRA
1.1.7.3.3.25 | Service Light |  |  | 1 | 206.8764 | 2482.5162 | 40 | 124.1258 | 1489.5097 | Yes | PRA
1.1.7.3.3.26 | Adaptor Frame 6102 |  |  | 1 | 1142.6334 | 13711.6007 | 40 | 685.58 | 8226.9604 | Yes | PRA
1.1.7.4 | 3G Change-out RBS6102 2x2 30Wpcc 1xDUW30(30HS codes) (Stand-Alone) |  |  |  |  | 275771.6159 | 40 |  | 165462.9696
1.1.7.4.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 16 | 214.5295 | 3432.4717 | 40 | 128.7177 | 2059.483
1.1.7.4.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 3432.4717 | 40 | 128.7177 | 2059.483 | Yes | PRA
1.1.7.4.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 52 | 214.5295 | 11155.5329 | 40 | 128.7177 | 6693.3198
1.1.7.4.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 11155.5329 | 40 | 128.7177 | 6693.3198 | Yes | PRA
1.1.7.4.3 | RBS6102 WCDMA 2x2 30Wpcc_DUW30(0UL/0DL/30Code)_Rev A |  |  | 7 | 37311.9445 | 261183.6114 | 40 | 22387.1667 | 156710.1668
1.1.7.4.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 76163.2624 | 40 | 6528.2796 | 45697.9575 | Yes | PRA
1.1.7.4.3.2 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 3443.5757 | 40 | 295.1636 | 2066.1454 | Yes | PRA
1.1.7.4.3.3 | Prepared for internal battery back-up one shelf |  |  | 1 | 926.1429 | 6483.0001 | 40 | 555.6857 | 3889.8001 | Yes | PRA
1.1.7.4.3.4 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 3763.4917 | 40 | 322.585 | 2258.095 | Yes | PRA
1.1.7.4.3.5 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 3 | 313.7654 | 6589.0742 | 40 | 188.2593 | 3953.4445 | Yes | PRA
1.1.7.4.3.6 | RBS 6102 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 5940.163 | 41581.141 | 40 | 3564.0978 | 24948.6846 | Yes | PRA
1.1.7.4.3.7 | Output Power HWAC 20W->40W (per RU) |  |  | 2 | 967.9358 | 13551.1015 | 40 | 580.7615 | 8130.6609 | Yes | PRA
1.1.7.4.3.8 | Output Power HWAC 40W->60W (per RU) |  |  | 2 | 967.9358 | 13551.1015 | 40 | 580.7615 | 8130.6609 | Yes | PRA
1.1.7.4.3.9 | WCDMA Cell Carrier HWAC |  |  | 4 | 862.8677 | 24160.2954 | 40 | 517.7206 | 14496.1773 | Yes | PRA
1.1.7.4.3.10 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 2 | 2064.001 | 28896.0143 | 40 | 1238.4006 | 17337.6086 | Yes | PRA
1.1.7.4.3.11 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.4.3.12 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.4.3.13 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 10782.6563 | 40 | 154.0379 | 6469.5938 | Yes | PRA
1.1.7.4.3.14 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 6981.1028 | 40 | 598.3802 | 4188.6617 | Yes | PRA
1.1.7.4.3.15 | Prepared for internal battery back-up two shelves |  |  | 0 | 1527.5309 | 0 | 40 | 916.5185 | 0 | Yes | PRA
1.1.7.4.3.16 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 4163.9883 | 40 | 356.9133 | 2498.393 | Yes | PRA
1.1.7.4.3.17 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 0 | 5209 | 0 | 40 | 3125.4 | 0 | Yes | PRA
1.1.7.4.3.18 | SAU Support Alarm Unit |  |  | 1 | 275.4361 | 1928.053 | 40 | 165.2617 | 1156.8318 | Yes | PRA
1.1.7.4.3.19 | Service Outlet |  |  | 1 | 78.1867 | 547.3068 | 40 | 46.912 | 328.3841 | Yes | PRA
1.1.7.4.3.20 | Smoke Detector kit |  |  | 1 | 823.9017 | 5767.3119 | 40 | 494.341 | 3460.3871 | Yes | PRA
1.1.7.4.3.21 | External Alarm OVP (8 ports) |  |  | 1 | 270.6227 | 1894.3588 | 40 | 162.3736 | 1136.6153 | Yes | PRA
1.1.7.4.3.22 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.7.4.3.23 | Lifting Eyes |  |  | 0 | 56.5262 | 0 | 40 | 33.9157 | 0 | Yes | PRA
1.1.7.4.3.24 | Door Lock + key type (Customer Specific) |  |  | 1 | 212.8868 | 1490.2076 | 40 | 127.7321 | 894.1245 | Yes | PRA
1.1.7.4.3.25 | Service Light |  |  | 1 | 206.8764 | 1448.1345 | 40 | 124.1258 | 868.8807 | Yes | PRA
1.1.7.4.3.26 | Adaptor Frame 6102 |  |  | 1 | 1142.6334 | 7998.4337 | 40 | 685.58 | 4799.0602 | Yes | PRA
1.1.7.5 | 3G Change-out RBS6102 3x2 30Wpcc 1xDUW30(45HS codes) (Stand-Alone) |  |  |  |  | 48782.5799 | 40 |  | 29269.5479
1.1.7.5.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 6 | 214.5295 | 1287.1769 | 40 | 128.7177 | 772.3061
1.1.7.5.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 1287.1769 | 40 | 128.7177 | 772.3061 | Yes | PRA
1.1.7.5.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 22 | 214.5295 | 4719.6485 | 40 | 128.7177 | 2831.7891
1.1.7.5.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 4719.6485 | 40 | 128.7177 | 2831.7891 | Yes | PRA
1.1.7.5.3 | RBS6102 WCDMA 3x2 30Wpcc_DUW30(0UL/0DL/45Code)_Rev A |  |  | 1 | 42775.7545 | 42775.7545 | 40 | 25665.4527 | 25665.4527
1.1.7.5.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 10880.4661 | 40 | 6528.2796 | 6528.2796 | Yes | PRA
1.1.7.5.3.2 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 491.9394 | 40 | 295.1636 | 295.1636 | Yes | PRA
1.1.7.5.3.3 | Prepared for internal battery back-up one shelf |  |  | 1 | 926.1429 | 926.1429 | 40 | 555.6857 | 555.6857 | Yes | PRA
1.1.7.5.3.4 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 537.6417 | 40 | 322.585 | 322.585 | Yes | PRA
1.1.7.5.3.5 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 3 | 313.7654 | 941.2963 | 40 | 188.2593 | 564.7778 | Yes | PRA
1.1.7.5.3.6 | RBS 6102 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 5940.163 | 5940.163 | 40 | 3564.0978 | 3564.0978 | Yes | PRA
1.1.7.5.3.7 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.7.5.3.8 | Output Power HWAC 40W->60W (per RU) |  |  | 3 | 967.9358 | 2903.8075 | 40 | 580.7615 | 1742.2845 | Yes | PRA
1.1.7.5.3.9 | WCDMA Cell Carrier HWAC |  |  | 6 | 862.8677 | 5177.2062 | 40 | 517.7206 | 3106.3237 | Yes | PRA
1.1.7.5.3.10 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.5.3.11 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.5.3.12 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 2310.5692 | 40 | 154.0379 | 1386.3415 | Yes | PRA
1.1.7.5.3.13 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 997.3004 | 40 | 598.3802 | 598.3802 | Yes | PRA
1.1.7.5.3.14 | Prepared for internal battery back-up two shelves |  |  | 0 | 1527.5309 | 0 | 40 | 916.5185 | 0 | Yes | PRA
1.1.7.5.3.15 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 594.8555 | 40 | 356.9133 | 356.9133 | Yes | PRA
1.1.7.5.3.16 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 0 | 5209 | 0 | 40 | 3125.4 | 0 | Yes | PRA
1.1.7.5.3.17 | SAU Support Alarm Unit |  |  | 1 | 275.4361 | 275.4361 | 40 | 165.2617 | 165.2617 | Yes | PRA
1.1.7.5.3.18 | Service Outlet |  |  | 1 | 78.1867 | 78.1867 | 40 | 46.912 | 46.912 | Yes | PRA
1.1.7.5.3.19 | Smoke Detector kit |  |  | 1 | 823.9017 | 823.9017 | 40 | 494.341 | 494.341 | Yes | PRA
1.1.7.5.3.20 | External Alarm OVP (8 ports) |  |  | 1 | 270.6227 | 270.6227 | 40 | 162.3736 | 162.3736 | Yes | PRA
1.1.7.5.3.21 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.7.5.3.22 | Lifting Eyes |  |  | 0 | 56.5262 | 0 | 40 | 33.9157 | 0 | Yes | PRA
1.1.7.5.3.23 | Door Lock + key type (Customer Specific) |  |  | 1 | 212.8868 | 212.8868 | 40 | 127.7321 | 127.7321 | Yes | PRA
1.1.7.5.3.24 | Service Light |  |  | 1 | 206.8764 | 206.8764 | 40 | 124.1258 | 124.1258 | Yes | PRA
1.1.7.5.3.25 | 3-pack WCDMA Radio Unit RUW 01B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 5160.0153 | 5160.0153 | 40 | 3096.0092 | 3096.0092 | Yes | PRA
1.1.7.5.3.26 | Adaptor Frame 6102 |  |  | 1 | 1142.6334 | 1142.6334 | 40 | 685.58 | 685.58 | Yes | PRA
1.1.7.6 | 3G Change-out RBS6201 1x2 30Wpcc 1xDUW20(15HS codes) (Stand-Alone) |  |  |  |  | 43921.5077 | 40 |  | 26352.9046
1.1.7.6.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 6 | 214.5295 | 1287.1769 | 40 | 128.7177 | 772.3061
1.1.7.6.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 1287.1769 | 40 | 128.7177 | 772.3061 | Yes | PRA
1.1.7.6.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 14 | 214.5295 | 3003.4127 | 40 | 128.7177 | 1802.0476
1.1.7.6.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 3003.4127 | 40 | 128.7177 | 1802.0476 | Yes | PRA
1.1.7.6.3 | RBS6201 WCDMA 1x2 30Wpcc_DUW20(0UL/0DL/15Code)_Rev A |  |  | 2 | 19815.4591 | 39630.9181 | 40 | 11889.2754 | 23778.5509
1.1.7.6.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 10880.4661 | 0 | 40 | 6528.2796 | 0 | Yes | PRA
1.1.7.6.3.2 | RBS 6201 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 2631.3511 | 5262.7022 | 40 | 1578.8106 | 3157.6213 | Yes | PRA
1.1.7.6.3.3 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 983.8788 | 40 | 295.1636 | 590.3273 | Yes | PRA
1.1.7.6.3.4 | Fastening Screws for concrete (BF or cabinet) |  |  | 0 | 36.0881 | 0 | 40 | 21.6529 | 0 | Yes | PRA
1.1.7.6.3.5 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 1075.2833 | 40 | 322.585 | 645.17 | Yes | PRA
1.1.7.6.3.6 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 2 | 313.7654 | 1255.0618 | 40 | 188.2593 | 753.0371 | Yes | PRA
1.1.7.6.3.7 | Output Power HWAC 20W->40W (per RU) |  |  | 1 | 967.9358 | 1935.8716 | 40 | 580.7615 | 1161.523 | Yes | PRA
1.1.7.6.3.8 | Output Power HWAC 40W->60W (per RU) |  |  | 1 | 967.9358 | 1935.8716 | 40 | 580.7615 | 1161.523 | Yes | PRA
1.1.7.6.3.9 | WCDMA Cell Carrier HWAC |  |  | 2 | 862.8677 | 3451.4708 | 40 | 517.7206 | 2070.8825 | Yes | PRA
1.1.7.6.3.10 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 2064.001 | 4128.002 | 40 | 1238.4006 | 2476.8012 | Yes | PRA
1.1.7.6.3.11 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 7211.7153 | 14423.4305 | 40 | 4327.0292 | 8654.0583 | Yes | PRA
1.1.7.6.3.12 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.6.3.13 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.6.3.14 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 1540.3795 | 40 | 154.0379 | 924.2277 | Yes | PRA
1.1.7.6.3.15 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 1994.6008 | 40 | 598.3802 | 1196.7605 | Yes | PRA
1.1.7.6.3.16 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 1189.7109 | 40 | 356.9133 | 713.8266 | Yes | PRA
1.1.7.6.3.17 | Base Frame 6201 |  |  | 1 | 227.3271 | 454.6543 | 40 | 136.3963 | 272.7926 | Yes | PRA
1.1.7.7 | 3G Change-out RBS6201 3x2 30Wpcc 1xDUW30(45HS codes) (Stand-Alone) |  |  |  |  | 152072.6856 | 40 |  | 91243.6114
1.1.7.7.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 12 | 214.5295 | 2574.3538 | 40 | 128.7177 | 1544.6122
1.1.7.7.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 2574.3538 | 40 | 128.7177 | 1544.6122 | Yes | PRA
1.1.7.7.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 36 | 214.5295 | 7723.0613 | 40 | 128.7177 | 4633.8368
1.1.7.7.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 7723.0613 | 40 | 128.7177 | 4633.8368 | Yes | PRA
1.1.7.7.3 | RBS6201 WCDMA 3x2 30Wpcc_DUW30(0UL/0DL/45Code)_Rev A |  |  | 4 | 35443.8176 | 141775.2706 | 40 | 21266.2906 | 85065.1624
1.1.7.7.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 43521.8643 | 40 | 6528.2796 | 26113.1186 | Yes | PRA
1.1.7.7.3.2 | RBS 6201 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 1 | 2631.3511 | 10525.4043 | 40 | 1578.8106 | 6315.2426 | Yes | PRA
1.1.7.7.3.3 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 1 | 491.9394 | 1967.7575 | 40 | 295.1636 | 1180.6545 | Yes | PRA
1.1.7.7.3.4 | Fastening Screws for concrete (BF or cabinet) |  |  | 0 | 36.0881 | 0 | 40 | 21.6529 | 0 | Yes | PRA
1.1.7.7.3.5 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 2150.5667 | 40 | 322.585 | 1290.34 | Yes | PRA
1.1.7.7.3.6 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 2 | 313.7654 | 2510.1235 | 40 | 188.2593 | 1506.0741 | Yes | PRA
1.1.7.7.3.7 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 11615.2298 | 40 | 580.7615 | 6969.1379 | Yes | PRA
1.1.7.7.3.8 | Output Power HWAC 40W->60W (per RU) |  |  | 3 | 967.9358 | 11615.2298 | 40 | 580.7615 | 6969.1379 | Yes | PRA
1.1.7.7.3.9 | WCDMA Cell Carrier HWAC |  |  | 6 | 862.8677 | 20708.8247 | 40 | 517.7206 | 12425.2948 | Yes | PRA
1.1.7.7.3.10 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.7.3.11 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.7.3.12 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 9242.2768 | 40 | 154.0379 | 5545.3661 | Yes | PRA
1.1.7.7.3.13 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 3989.2016 | 40 | 598.3802 | 2393.5209 | Yes | PRA
1.1.7.7.3.14 | BFU, Battery Fuse Unit |  |  | 1 | 594.8555 | 2379.4219 | 40 | 356.9133 | 1427.6531 | Yes | PRA
1.1.7.7.3.15 | 3-pack WCDMA Radio Unit RUW 01B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 5160.0153 | 20640.0611 | 40 | 3096.0092 | 12384.0367 | Yes | PRA
1.1.7.7.3.16 | Base Frame 6201 |  |  | 1 | 227.3271 | 909.3085 | 40 | 136.3963 | 545.5851 | Yes | PRA
1.1.7.8 | 3G Change-out RBS6601 with SSC-02 1x2 30Wpcc 1xDUW20(15HS codes) (Stand-Alone) Reuse RRUW |  |  |  |  | 355039.5378 | 40 |  | 213023.7227
1.1.7.8.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 51 | 214.5295 | 10941.0034 | 40 | 128.7177 | 6564.6021
1.1.7.8.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 10941.0034 | 40 | 128.7177 | 6564.6021 | Yes | PRA
1.1.7.8.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 122 | 214.5295 | 26172.5965 | 40 | 128.7177 | 15703.5579
1.1.7.8.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 26172.5965 | 40 | 128.7177 | 15703.5579 | Yes | PRA
1.1.7.8.3 | RBS6601 WCDMA No RRUW DUW20 (0UL/0DL/15Code)_IPRAN_Rev A |  |  | 15 | 11176.7125 | 167650.6879 | 40 | 6706.0275 | 100590.4127
1.1.7.8.3.1 | Digital Unit DUW 20 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 7211.7153 | 108175.729 | 40 | 4327.0292 | 64905.4374 | Yes | PRA
1.1.7.8.3.2 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 509.85 | 40 | 20.394 | 305.91 | Yes | PRA
1.1.7.8.3.3 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 8064.625 | 40 | 322.585 | 4838.775 | Yes | PRA
1.1.7.8.3.4 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 24388.1319 | 40 | 975.5253 | 14632.8792 | Yes | PRA
1.1.7.8.3.5 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 0 | 10880.4661 | 0 | 40 | 6528.2796 | 0 | Yes | PRA
1.1.7.8.3.6 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.8.3.7 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.8.3.8 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 3 | 256.7299 | 11552.846 | 40 | 154.0379 | 6931.7076 | Yes | PRA
1.1.7.8.3.9 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 14959.5059 | 40 | 598.3802 | 8975.7036 | Yes | PRA
1.1.7.8.4 | SSC-02 for OD RBS6601 2 Rectifier_2MU (No batteries) |  |  | 15 | 10018.35 | 150275.25 | 40 | 6011.01 | 90165.15
1.1.7.8.4.1 | PRODUCT PACKAGE/Power system; (SSC-02) (FAP1301878) |  |  | 1 | 10018.35 | 150275.25 | 40 | 6011.01 | 90165.15 | Yes | PRT
Price Objects
1.1.7.8.4.1.1 | 2.0 kW rectifier, PBC 6200 | INF 901 5392/PBC1 |  | 1 | 213.07 | 213.07 | 40 | 127.842 | 127.842
1.1.7.8.4.1.2 | Distribution CB 2-32A | INF 901 6406/19 |  | 6 | 15.02 | 90.12 | 40 | 9.012 | 54.072
1.1.7.8.4.1.3 | Door Handle | INF 901 5392/1 |  | 1 | 91.39 | 91.39 | 40 | 54.834 | 54.834
1.1.7.8.4.1.4 | Lifting Eye Bolt Set | INF 901 5392/30 |  | 1 | 11.44 | 11.44 | 40 | 6.864 | 6.864
1.1.7.8.4.1.5 | Power and external alarm cable for RBS MU | INF 901 6406/9 |  | 1 | 27.03 | 27.03 | 40 | 16.218 | 16.218
1.1.7.8.4.1.6 | RRU SPD protection Kit | INF 901 6406/3 |  | 4 | 54.81 | 219.24 | 40 | 32.886 | 131.544
1.1.7.8.4.1.7 | SSC-02 for < 4 rectifiers | INF 901 6406/1 |  | 1 | 9009.01 | 9009.01 | 40 | 5405.406 | 5405.406
1.1.7.8.4.1.8 | Service outlet | INF 901 6406/5 |  | 1 | 90.09 | 90.09 | 40 | 54.054 | 54.054
1.1.7.8.4.1.9 | Standard Door Lock/Key | INF 901 5392/2 |  | 1 | 121.31 | 121.31 | 40 | 72.786 | 72.786
1.1.7.8.4.1.10 | Web interface board | INF 901 5392/PBC16 |  | 1 | 145.65 | 145.65 | 40 | 87.39 | 87.39
1.1.7.9 | 3G Change-out RBS6601 with SSC-02 2x2 30Wpcc 1xDUW30(30HS codes) (Stand-Alone) Reuse RRUW |  |  |  |  | 56631.2431 | 40 |  | 33978.7459
1.1.7.9.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 7 | 214.5295 | 1501.7064 | 40 | 128.7177 | 901.0238
1.1.7.9.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 1501.7064 | 40 | 128.7177 | 901.0238 | Yes | PRA
1.1.7.9.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 18 | 214.5295 | 3861.5306 | 40 | 128.7177 | 2316.9184
1.1.7.9.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 3861.5306 | 40 | 128.7177 | 2316.9184 | Yes | PRA
1.1.7.9.3 | RBS6601 WCDMA No RRUW DUW30 (0UL/0DL/30Code)_IPRAN_Rev A |  |  | 2 | 15615.6531 | 31231.3061 | 40 | 9369.3918 | 18738.7837
1.1.7.9.3.1 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 67.98 | 40 | 20.394 | 40.788 | Yes | PRA
1.1.7.9.3.2 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 1075.2833 | 40 | 322.585 | 645.17 | Yes | PRA
1.1.7.9.3.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 3251.7509 | 40 | 975.5253 | 1951.0506 | Yes | PRA
1.1.7.9.3.4 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 21760.9321 | 40 | 6528.2796 | 13056.5593 | Yes | PRA
1.1.7.9.3.5 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.9.3.6 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.9.3.7 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 6 | 256.7299 | 3080.7589 | 40 | 154.0379 | 1848.4554 | Yes | PRA
1.1.7.9.3.8 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 1994.6008 | 40 | 598.3802 | 1196.7605 | Yes | PRA
1.1.7.9.4 | SSC-02 for OD RBS6601 2 Rectifier_2MU (No batteries) |  |  | 2 | 10018.35 | 20036.7 | 40 | 6011.01 | 12022.02
1.1.7.9.4.1 | PRODUCT PACKAGE/Power system; (SSC-02) (FAP1301878) |  |  | 1 | 10018.35 | 20036.7 | 40 | 6011.01 | 12022.02 | Yes | PRT
Price Objects
1.1.7.9.4.1.1 | 2.0 kW rectifier, PBC 6200 | INF 901 5392/PBC1 |  | 1 | 213.07 | 213.07 | 40 | 127.842 | 127.842
1.1.7.9.4.1.2 | Distribution CB 2-32A | INF 901 6406/19 |  | 6 | 15.02 | 90.12 | 40 | 9.012 | 54.072
1.1.7.9.4.1.3 | Door Handle | INF 901 5392/1 |  | 1 | 91.39 | 91.39 | 40 | 54.834 | 54.834
1.1.7.9.4.1.4 | Lifting Eye Bolt Set | INF 901 5392/30 |  | 1 | 11.44 | 11.44 | 40 | 6.864 | 6.864
1.1.7.9.4.1.5 | Power and external alarm cable for RBS MU | INF 901 6406/9 |  | 1 | 27.03 | 27.03 | 40 | 16.218 | 16.218
1.1.7.9.4.1.6 | RRU SPD protection Kit | INF 901 6406/3 |  | 4 | 54.81 | 219.24 | 40 | 32.886 | 131.544
1.1.7.9.4.1.7 | SSC-02 for < 4 rectifiers | INF 901 6406/1 |  | 1 | 9009.01 | 9009.01 | 40 | 5405.406 | 5405.406
1.1.7.9.4.1.8 | Service outlet | INF 901 6406/5 |  | 1 | 90.09 | 90.09 | 40 | 54.054 | 54.054
1.1.7.9.4.1.9 | Standard Door Lock/Key | INF 901 5392/2 |  | 1 | 121.31 | 121.31 | 40 | 72.786 | 72.786
1.1.7.9.4.1.10 | Web interface board | INF 901 5392/PBC16 |  | 1 | 145.65 | 145.65 | 40 | 87.39 | 87.39
1.1.7.10 | 3G Change-out RBS6601 with SSC-02 3x2 30Wpcc 1xDUW30(45HS codes) (Stand-Alone) Reuse RRUW |  |  |  |  | 60745.9763 | 40 |  | 36447.5858
1.1.7.10.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 11 | 214.5295 | 2359.8243 | 40 | 128.7177 | 1415.8946
1.1.7.10.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 2359.8243 | 40 | 128.7177 | 1415.8946 | Yes | PRA
1.1.7.10.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 26 | 214.5295 | 5577.7665 | 40 | 128.7177 | 3346.6599
1.1.7.10.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 5577.7665 | 40 | 128.7177 | 3346.6599 | Yes | PRA
1.1.7.10.3 | RBS6601 WCDMA No RRUW DUW30 (0UL/0DL/45Code)_IPRAN_Rev A |  |  | 2 | 16385.8428 | 32771.6856 | 40 | 9831.5057 | 19663.0114
1.1.7.10.3.1 | Main Unit - 48 V DC Power cable 2m |  |  | 1 | 33.99 | 67.98 | 40 | 20.394 | 40.788 | Yes | PRA
1.1.7.10.3.2 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 1075.2833 | 40 | 322.585 | 645.17 | Yes | PRA
1.1.7.10.3.3 | RBS 6601 Main Unit, -48 VDC (no Digital Unit incl.) |  |  | 1 | 1625.8755 | 3251.7509 | 40 | 975.5253 | 1951.0506 | Yes | PRA
1.1.7.10.3.4 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 21760.9321 | 40 | 6528.2796 | 13056.5593 | Yes | PRA
1.1.7.10.3.5 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.10.3.6 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.10.3.7 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 4621.1384 | 40 | 154.0379 | 2772.6831 | Yes | PRA
1.1.7.10.3.8 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 1994.6008 | 40 | 598.3802 | 1196.7605 | Yes | PRA
1.1.7.10.4 | SSC-02 for OD RBS6601 2 Rectifier_2MU (No batteries) |  |  | 2 | 10018.35 | 20036.7 | 40 | 6011.01 | 12022.02
1.1.7.10.4.1 | PRODUCT PACKAGE/Power system; (SSC-02) (FAP1301878) |  |  | 1 | 10018.35 | 20036.7 | 40 | 6011.01 | 12022.02 | Yes | PRT
Price Objects
1.1.7.10.4.1.1 | 2.0 kW rectifier, PBC 6200 | INF 901 5392/PBC1 |  | 1 | 213.07 | 213.07 | 40 | 127.842 | 127.842
1.1.7.10.4.1.2 | Distribution CB 2-32A | INF 901 6406/19 |  | 6 | 15.02 | 90.12 | 40 | 9.012 | 54.072
1.1.7.10.4.1.3 | Door Handle | INF 901 5392/1 |  | 1 | 91.39 | 91.39 | 40 | 54.834 | 54.834
1.1.7.10.4.1.4 | Lifting Eye Bolt Set | INF 901 5392/30 |  | 1 | 11.44 | 11.44 | 40 | 6.864 | 6.864
1.1.7.10.4.1.5 | Power and external alarm cable for RBS MU | INF 901 6406/9 |  | 1 | 27.03 | 27.03 | 40 | 16.218 | 16.218
1.1.7.10.4.1.6 | RRU SPD protection Kit | INF 901 6406/3 |  | 4 | 54.81 | 219.24 | 40 | 32.886 | 131.544
1.1.7.10.4.1.7 | SSC-02 for < 4 rectifiers | INF 901 6406/1 |  | 1 | 9009.01 | 9009.01 | 40 | 5405.406 | 5405.406
1.1.7.10.4.1.8 | Service outlet | INF 901 6406/5 |  | 1 | 90.09 | 90.09 | 40 | 54.054 | 54.054
1.1.7.10.4.1.9 | Standard Door Lock/Key | INF 901 5392/2 |  | 1 | 121.31 | 121.31 | 40 | 72.786 | 72.786
1.1.7.10.4.1.10 | Web interface board | INF 901 5392/PBC16 |  | 1 | 145.65 | 145.65 | 40 | 87.39 | 87.39
1.1.7.11 | 3G Change-out RBS6102 3x2 30Wpcc 1xDUW30(45HS codes) (Co-site 2G) |  |  |  |  | 227785.1522 | 40 |  | 136671.0913
1.1.7.11.1 | DUW BB HW Activation Fee CE DL p.16CE |  |  | 24 | 214.5295 | 5148.7075 | 40 | 128.7177 | 3089.2245
1.1.7.11.1.1 | WCDMA CE DL HWAC (per 16CE) |  |  | 1 | 214.5295 | 5148.7075 | 40 | 128.7177 | 3089.2245 | Yes | PRA
1.1.7.11.2 | DUW BB HW Activation Fee CE UL p.16CE |  |  | 66 | 214.5295 | 14158.9456 | 40 | 128.7177 | 8495.3674
1.1.7.11.2.1 | WCDMA CE UL HWAC (per 16CE) |  |  | 1 | 214.5295 | 14158.9456 | 40 | 128.7177 | 8495.3674 | Yes | PRA
1.1.7.11.3 | RBS6102 WCDMA 3x2 30Wpcc_DUW30(0UL/0DL/45Code)_Rev A (Exclude Cabinet) |  |  | 6 | 34746.2498 | 208477.499 | 40 | 20847.7499 | 125086.4994
1.1.7.11.3.1 | Digital Unit DUW 30 Basic HW Module (excl.HWA, SFP) |  |  | 1 | 10880.4661 | 65282.7964 | 40 | 6528.2796 | 39169.6778 | Yes | PRA
1.1.7.11.3.2 | Additional PDU (Power Distribution Unit) for additional RU a |  |  | 0 | 491.9394 | 0 | 40 | 295.1636 | 0 | Yes | PRA
1.1.7.11.3.3 | Prepared for internal battery back-up one shelf |  |  | 1 | 926.1429 | 5556.8573 | 40 | 555.6857 | 3334.1144 | Yes | PRA
1.1.7.11.3.4 | Extended Cimate System |  |  | 1 | 1655.4183 | 9932.5099 | 40 | 993.251 | 5959.5059 | Yes | PRA
1.1.7.11.3.5 | SFP 1000BASE-LX40 DUAL RATE 1.25 40km for DUx |  |  | 1 | 537.6417 | 3225.85 | 40 | 322.585 | 1935.51 | Yes | PRA
1.1.7.11.3.6 | PSU 230VAC: Power Supply Unit, 230 VAC |  |  | 2 | 313.7654 | 3765.1853 | 40 | 188.2593 | 2259.1112 | Yes | PRA
1.1.7.11.3.7 | RBS 6102 Cabinet for up to 6 RU, 230 VAC (no RU, no PSU incl.) |  |  | 0 | 5940.163 | 0 | 40 | 3564.0978 | 0 | Yes | PRA
1.1.7.11.3.8 | Cabinet Expansion kit from 6 RU to 12 RU (no RU incl.) |  |  | 1 | 666.3441 | 3998.0644 | 40 | 399.8064 | 2398.8387 | Yes | PRA
1.1.7.11.3.9 | Output Power HWAC 20W->40W (per RU) |  |  | 3 | 967.9358 | 17422.8448 | 40 | 580.7615 | 10453.7069 | Yes | PRA
1.1.7.11.3.10 | Output Power HWAC 40W->60W (per RU) |  |  | 3 | 967.9358 | 17422.8448 | 40 | 580.7615 | 10453.7069 | Yes | PRA
1.1.7.11.3.11 | WCDMA Cell Carrier HWAC |  |  | 6 | 862.8677 | 31063.237 | 40 | 517.7206 | 18637.9422 | Yes | PRA
1.1.7.11.3.12 | Single WCDMA Radio Unit RUW 01 B1 (2100 MHz) 20W HW Activation incl. |  |  | 0 | 2064.001 | 0 | 40 | 1238.4006 | 0 | Yes | PRA
1.1.7.11.3.13 | WCDMA CE DL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.11.3.14 | WCDMA CE UL HWAC (per 16CE) |  |  | 0 | 214.5295 | 0 | 40 | 128.7177 | 0 | Yes | PRA
1.1.7.11.3.15 | WCDMA HS Codes HWAC (per 5HS-Codes) |  |  | 9 | 256.7299 | 13863.4153 | 40 | 154.0379 | 8318.0492 | Yes | PRA
1.1.7.11.3.16 | DUW Optional IP Optical Interface HWAC |  |  | 1 | 997.3004 | 5983.8024 | 40 | 598.3802 | 3590.2814 | Yes | PRA
1.1.7.11.3.17 | Prepared for internal battery back-up two shelves |  |  | 0 | 1527.5309 | 0 | 40 | 916.5185 | 0 | Yes | PRA
1.1.7.11.3.18 | BFU, Battery Fuse Unit |  |  | 0 | 594.8555 | 0 | 40 | 356.9133 | 0 | Yes | PRA
1.1.7.11.3.19 | Battery set, 48V/100 Ah,incl.cable set for RBS 6102 |  |  | 0 | 5209 | 0 | 40 | 3125.4 | 0 | Yes | PRA
1.1.7.11.3.20 | SAU Support Alarm Unit |  |  | 0 | 275.4361 | 0 | 40 | 165.2617 | 0 | Yes | PRA
1.1.7.11.3.21 | Service Outlet |  |  | 0 | 78.1867 | 0 | 40 | 46.912 | 0 | Yes | PRA
1.1.7.11.3.22 | Smoke Detector kit |  |  | 0 | 823.9017 | 0 | 40 | 494.341 | 0 | Yes | PRA
1.1.7.11.3.23 | External Alarm OVP (8 ports) |  |  | 0 | 270.6227 | 0 | 40 | 162.3736 | 0 | Yes | PRA
1.1.7.11.3.24 | Door Handle |  |  | 0 | 119.0755 | 0 | 40 | 71.4453 | 0 | Yes | PRA
1.1.7.11.3.25 | Lifting Eyes |  |  | 0 | 56.5262 | 0 | 40 | 33.9157 | 0 | Yes | PRA
1.1.7.11.3.26 | Door Lock + key type (Customer Specific) |  |  | 0 | 212.8868 | 0 | 40 | 127.7321 | 0 | Yes | PRA
1.1.7.11.3.27 | Service Light |  |  | 0 | 206.8764 | 0 | 40 | 124.1258 | 0 | Yes | PRA
1.1.7.11.3.28 | 3-pack WCDMA Radio Unit RUW 01B1 (2100 MHz) 20W HW Activation incl. |  |  | 1 | 5160.0153 | 30960.0917 | 40 | 3096.0092 | 18576.055 | Yes | PRA
1.1.7.11.3.29 | Adaptor Frame 6102 |  |  | 0 | 1142.6334 | 0 | 40 | 685.58 | 0 | Yes | PRA
| Grand Total: |  |  |  |  | 7921733.1435 | 48.62% |  | 4070017.047 |  |  |  |  | 0